To:Peter R. Chevas

Cc:Berry Rent, Kevin Doone

Subject:RE:  Procuedure NOM-56, Procedure NOM-57, Procedure NOM-58

Peter,

I reviewed the procedures, they look okay.  I also talked to Larry to add some explanation to the Procedure NOM-57 – Standardization – due to the sample time/temperature will be varied after the comparison with the on-line pH reading is completed.  This is when we will need to adjust the pH transmitter to read as the sample reading.

Thank you.

Kin V. Vie

DuPont-Fayetteville Works

Technology Associate

E&I Engineer

Discussion Questions for Memo:

- What would happen to the process if the pH transmitter was not properly checked and adjusted?

- How might the consequences effect overall plant production?

- Who is responsible for checking the sample readings and comparing them with the product?

- What two variables are mentioned in this memo?

- What is the tone of the communication between the individuals?